## Slide 1: HVAC Design for Triton S40 Tidal Power Platform
Clara Decan
Alscott Air Systems Winter 2016

## Slide 2: Agenda
Background Information
Project Overview
Design Objectives
HVAC Design Calculations
Specifics of Design
Current Status

## Slide 3: Background Information
Ref. http://www.marinerenewables.ca/wp-content/uploads/2015/11/BRTP_MRC_Infrastructure_Dec15th2105.pdf

## Slide 4: Overview - Triton S40 Tidal Power Platform

## Slide 5: Overview - Triton S40 Tidal Power Platform
Ref. http://www.blackrocktidalpower.com/fileadmin/data/pdf/SCHOTTEL_HYDRO/TRITON_S36_-_FORCE_2014.pdf
Ref. http://www.marinerenewables.ca/wp-content/uploads/2015/11/BRTP_MRC_Infrastructure_Dec15th2105.pdf

## Slide 6: Engineering Drawings
4m
3.025m

## Slide 7: HVAC Design Objectives
Provide a Dehumidification System
Provide adequate ventilation for Battery Room during battery charging
Purge system
Design and suggest equipment of quality for a life span of 15 years.

## Slide 8: Specifics of Design
System Description
Power Spar Buoy
Control System
Dehumidification System
Fresh Air/Purge System
Local Space Heating
Utility Spar Buoy
Battery Room Exhaust

## Slide 9: Basis of HVAC Design Calculations
Layout Dimensions
Heating & Cooling Load Calculations
Airflow Calculations
Equipment Sizing
Internal and External Design Conditions
Notes: 1
2- Temperatures and %RH
3
4 – Once we obtain the highest airflow values, we determine the size and type of equipment to be implemented
5

## Slide 10: HVAC Design Calculations
Technical Details (Operational Mode)
Internal Space Temperature: 10-35o C
Max. Absolute Humidity: 6.2 g/kg
Sea Water Temperature: 7o C
Relative Humidity: 81%RH @ 10oC
18%RH @ 35o C
6.2g/kg
10o
35o

## Slide 11: Specifics of Design
Dampers
Space Heaters
Battery
Exhaust Fan
Dehumidifiers
Utility Spar Buoy
Power Spar Buoy
Fresh Air Intake
Fresh Air Intake
Transfer (Openings & Grating
Purge Fan
Notes: Hot air is concentrated on top of the buoys, and will travel downwards tru the openings.

## Slide 12: Current Status
Overall Platform Design Under Review
Dehumidifier Concept Under Development

## Slide 13
Questions?